MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2015/2016

THIRD YEAR FIRST SEMESTER EXAMINATION FOR THE DEGREE OF BACHELOR OF SCIENCE IN PUBLIC HEALTH

HPP 3303: LIQUID WASTE MANAGEMENT

DATE: AUGUST 2016				   	                                  TIME: 2 HOURS

INSTRUCTIONS: Answer question one and any other two questions

QUESTION ONE (30MARKS)

- Identify three criteria used in the determination of waste water treatment methods.	(3 Marks)

- Define the following:

- Sewage										(1 Mark)

- Sewerage 										(1 Mark)

- 5-day BoD										(1 Mark)

- Ultimate BoD									(1 Mark)

- CoD										(1 Mark)

- Municipal waste water.								(1 Mark)

- Summarize 	indicator organisms likely to be found in sewage.				(3 Marks)

- Distinguish between grit removal and screening.						(3 Marks)

- Describe the constituents of sewage.							(4 Marks)

- Illustrate the specifications of a primary redimentation tank.				(3 Marks)

- Give examples of experts involved in the design planning and implementation of wastes water management facilities in Kenya. 								(5 Marks)

- Trace the milestone of extensive construction of sewage systems.			(3 Marks)

QUESTION TWO (20 MARKS)

Show that use of waste water from stabilization ponds could be a source of fish for human consumption.											(20 Marks)

QUESTION THREE (20 MARKS)

Compare the merits of treating sewage in a septic tank and off-site treatment in a centralized system.												(20 Marks)

QUESTION FOUR (20 MARKS)

Analyze the process of sewage treatment by use of a percolating filter.			(20 Marks)