MERU UNIVERSITY OF SCIENCE AND TECHNOLOGY

P.O. Box 972-60200 – Meru-Kenya.

Tel: 020-2069349, 061-2309217. 064-30320 Cell phone: +254 712524293, +254 789151411

Fax: 064-30321

Website: www.must.ac.ke  Email: info@must.ac.ke

University Examinations 2016/2017

THIRD YEAR, FIRST SEMESTER EXAMINATION FOR THE DEGREE OF BACHELOR OF TECHNOLOGY IN ELECTRICAL ENGINEERING.

EET 3301: ANALOGUE AND DIGITAL CONTROL SYSTEM

DATE: DECEMBER, 2016                                                                          TIME: 2 HOURS

INSTRUCTIONS: -	Answer question one and any other two questions

QUESTION ONE (30 MARKS)

- Explain what is meant by the term ‘control’						 (2 marks)

- State three advantages of Closed loop and Control System				(3 marks)

- Define the term transfer function							 (1 mark)

- Draw the response curve of an LVDT 						(3 marks)

- State two merits of a thermocouple temperature sensor 				(2 marks)

- Draw the response curves of the following; 						(4 marks)

- Thermistor

- Resistance temperature detector

- Describe the operation of shaft position encoder 					(4 marks)

- State the necessary conditions for determining the stability of a control system using the Routh criteria										(2 marks)

- Distinguish between a DC and a stepper motor					(2 marks)

- Highlight any two advantages of digital control systems over analog systems	(2 marks)

- A strain gauge with GF=2.0 and resistance 120 Ohms.  It is subjected to a strain of 5 microstrain.  Determine the percentage change in resistance. 			(5 marks)

QUESTION TWO (20 MARKS)

- With the aid of a diagram, explain the principle of operation of;			 (12 marks)

- Thermocouple

- Optocoupler

- A control system has a characteristic equation given by .  Using Routh stability criteria, determine the range of k so that the system is stable.		(8 marks)

QUESTION THREE (20 MARKS)

- Figure 1 shows as RLC circuit.  Determine the transfer function of the circuit.	(7 marks)

- Describe with aid of a labelled diagram, the principle of an R-2R ladder network digital-to-analogue (D to A) converter.								 (7 marks)

- With the aid of a diagram explain the operation of a solenoid			(6 marks)

QUESTION FOUR (20 MARKS)

- With the aid of a diagram, describe the operation of an LVDT			 (7 marks)

- Describe the hall effect principle 							(3 marks)

- With the aid of a diagram, describe the operation of a bipolar stepper motor	 (7 marks)

- Determine the step angle of a three phase stepper motor which 12 rotor teeth.	 (3 marks)